REVRB Acoustics		June 2017

40 Norfolk Avenue

Easton, Massachusetts 02375

Phone	781-710-1261

Website	www.REVRBAcoustics.com

Email	info@REVRBAcoustics.com

Guide Specification

Specifier Notes:  This guide specification is written in Construction Specifications Institute (CSI) 3-Part Format in accordance with The CSI Construction Specifications Practice Guide, MasterFormat, SectionFormat, and PageFormat.

This Section must be carefully reviewed and edited by the Architect to meet the requirements of the Project and local building code.  Coordinate this Section with Conditions of the Contract, Division 01, other specification sections, and the Drawings.  Delete all Specifier Notes after editing this Section.

Section numbers and titles are based on MasterFormat 2016 Edition.

09 84 15

ACOUSTIC FABRIC PANELS

Specifier Notes:  This Section covers REVRB Acoustics “REVRB Designer Series” custom-made, acoustical wall and ceiling panels, wrapped in acoustical fabric.  Consult REVRB Acoustics for assistance in editing this Section as required for the Project.

GENERAL

SECTION INCLUDES

Specifier Notes:  Edit the following sentence as required for the Project.

Custom-made, acoustical [wall]  [and]  [ceiling] panels, wrapped in acoustical fabric.

REFERENCE STANDARDS

Specifier Notes:  List reference standards used elsewhere in this Section, complete with designations and titles.  Delete reference standards from the following list not used in the edited Section.

ASTM International (ASTM) (www.astm.org):

ASTM C 423 – Standard Test Method for Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method.

ASTM E 84 – Standard Test Method for Surface Burning Characteristics of Building Materials.

PREINSTALLATION MEETINGS

Specifier Notes:  Edit the Preinstallation Meetings article as required for the Project.  Delete this article if not required.

Convene preinstallation meeting [1 week]  [2 weeks] before start of installation of acoustical panels.

Require attendance of parties directly affecting Work of this Section, including Contractor, Architect, installer, and manufacturer’s representative.

Review the Following:

Materials.

Installation.

Adjusting.

Cleaning.

Protection.

Coordination with other Work.

SUBMITTALS

Specifier Notes:  Edit the Submittals article as required for the Project.  Delete submittals not required.

Submittals:  Comply with Division 01.

Product Data:  Submit manufacturer’s product data, including installation instructions.

Shop Drawings:  Submit manufacturer’s shop drawings, indicating dimensions, tolerances, materials, components, fabrication, edge frame, backing, fasteners, hardware, penetration locations and sizes, and mounting.

Specifier Notes:  Specify the type and size of samples required for the Project.  Consult REVRB Acoustics for information regarding standard and custom samples.

Samples:  Submit manufacturer’s samples of acoustical fabric.

Sample Size:  Minimum 12 inches by 12 inches.

Manufacturer’s Certification:  Submit manufacturer’s certification that materials comply with specified requirements and are suitable for intended application.

Test Reports:  Submit manufacturer’s test reports from testing performed by qualified, independent testing laboratories.

Surface Burning Characteristics, ASTM E 84:

Flame spread index.

Smoke developed index.

Sound Absorption, ASTM C 423:

NRC.

SAA.

Manufacturer’s Project References:  Submit manufacturer’s list of 5 successfully completed acoustical panel projects of similar size and scope to this Project, including project name and location, name of architect, and type and quantity of acoustical panels furnished.

Cleaning Instructions:  Submit manufacturer’s cleaning instructions.

Warranty Documentation:  Submit manufacturer’s standard warranty.

QUALITY ASSURANCE

Manufacturer’s Qualifications:  Manufacturer regularly engaged in the manufacturing of acoustical panels of similar type to that specified for a minimum of 5 years.

DELIVERY, STORAGE, AND HANDLING

Delivery Requirements:  Deliver materials to site in manufacturer’s original, unopened containers and packaging, with labels clearly identifying product name and manufacturer.

Storage and Handling Requirements:

Store and handle materials in accordance with manufacturer’s instructions.

Keep materials in manufacturer’s original, unopened containers and packaging until installation.

Store materials in clean, dry area indoors.

Do not store materials directly on floor.

Store materials out of direct sunlight.

Protect materials during storage, handling, and installation to prevent damage.

PRODUCTS

MANUFACTURERS

Manufacturer:  REVRB Acoustics, 40 Norfolk Avenue, Easton, Massachusetts 02375.  Phone 781-710-1261. www.REVRBAcoustics.com.  Info@REVRBAcoustics.com.

Specifier Notes:  Specify if substitutions will be permitted.

Substitutions:  [Not permitted]  [Comply with Division 01].

Single Source:  Provide acoustical panels from single manufacturer.

ACOUSTICAL PANELS

Specifier Notes:  Edit the following sentence as required for the Project.

Acoustical Panels:  “REVRB Designer Series” custom-made, acoustical [wall]  [and]  [ceiling] panels, wrapped in acoustical fabric.

Surface Burning Characteristics, ASTM E 84:  Class A.

Flame Spread Index:  5.

Smoke Developed Index:  25.

Sound Absorption, ASTM C 423:

NRC:  1.05.

SAA:  1.01.

Acoustical Core:

Material:  Acoustic mineral insulation.

Density:

Specifier Notes:  Specify standard or high-impact, tackable core.

Standard Core:  3 lbs/ft3.

High-Impact, Tackable Core:  6 to 7 lbs/ft3.

Edge Frame:  3/4-inch solid hardwood.

Density:  Minimum 30 lbs/ft3.

Specifier Notes:  Specify edge type.  Square edge is standard.

Type:  [Square]  [Beveled, 45 degrees]  [Small beveled]  [Miter]  [Round].

Backing:  1/4-inch solid hardwood.

Acoustical Fabric:

Specifier Notes:  Test results of surface burning characteristics and sound absorption testing are based on fabric manufactured by Guilford of Maine.  Consult REVRB Acoustics if a different fabric manufacturer is specified.

Fabric Manufacturer:  [Guilford of Maine]  [____________].

Specifier Notes:  Specify fabric style, color, material, and recycled content.  Consult REVRB Acoustics for fabric selection.

Style:  ____________.

Color:  ____________.

Material:  [Recycled polyester]  [____________].

Post-Consumer Recycled Content:  _____ percent.

Pre-Consumer Recycled Content:  _____ percent.

Specifier Notes:  Delete art screen prints if not required for the Project.

Art Screen Prints:

Art Work Electronic Format:  PSD, PDF, TIFF, BMP, ESP, or JPG.

Resolution:  Minimum 100 dpi at panel size.

Specifier Notes:  Specify panel shape.  Consult REVRB Acoustics for information regarding available shapes.

Shape:  [Rectangle]  [____________]  [Indicated on the Drawings].

Dimensions:

Specifier Notes:  Specify panel dimensions.  Standard panel thickness is 2 inches.  Custom panel sizes are available up to 60 inches wide.

Thickness:  [2 inches]  [_____ inches]  [Indicated on the Drawings].

Length:  [_____ inches]  [Indicated on the Drawings].

Width:  [_____ inches]  [Indicated on the Drawings].

Average Weight, 2-inch panel thickness, 3-lb/ft3 core:  1.48 lbs/ft2.

Specifier Notes:  Panels can be fabricated with penetrations for such items as lighting fixtures, ceiling fans, sprinkler heads, alarms, and wall switches.  Consult REVRB Acoustics for information regarding penetrations in panels.  Delete the following sentence if there are no penetrations in the panels.

Penetrations:  Locations and sizes indicated on the Drawings.

Mounting:

Specifier Notes:  Specify clips for wall or ceiling mounting.

Walls:  F-5 mounting; aluminum Z-clips.

Ceilings:  Type A; metal ceiling clips.

EXECUTION

EXAMINATION

Examine surfaces to receive acoustical panels.

Verify surfaces to support acoustical panels are clean, dry, flat, plumb, level, square, stable, rigid, and capable of supporting the weight.

Notify Architect of conditions that would adversely affect installation or subsequent use.

Do not begin application until unacceptable conditions are corrected.

INSTALLATION

Install acoustical panels in accordance with manufacturer’s instructions at locations indicated on the Drawings.

Install acoustical panels under clean and dry conditions.

Install acoustical panels plumb, level, and square.

Specifier Notes:  Edit the following sentence as required for the Project.

Install acoustical panels flat, smooth, wrinkle free, and snug to [wall]  [and]  [ceiling] surfaces.

Install acoustical panels securely in place.

Specifier Notes:  Include the following sentence for ceiling installation of the acoustical panels.

Ceiling Installation:  Secure acoustical panels to ceiling joists in accordance with manufacturer’s instructions.

ADJUSTING

Remove and replace with new acoustical panels, damaged panels that cannot be successfully repaired, as determined by Architect.

CLEANING

Clean acoustical panels promptly after installation in accordance with manufacturer’s instructions.

Do not use harsh cleaning materials or methods that could damage acoustical panels.

PROTECTION

Protect installed acoustical panels from damage during construction.

END OF SECTION